# Infrared Radiation (IRR)

Infrared Radiation (IRR) is a form of electromagnetic radiation with wavelengths longer than visible light and shorter than microwaves. In physiotherapy, infrared radiation is used as a superficial heating modality to relieve pain, reduce muscle spasm, increase local blood circulation, and promote tissue healing.

## Types of Infrared Radiation

### 1. Near Infrared (IR-A)

- Wavelength: 700–1400 nm

- Produced by luminous generators

- Penetrates deeper into tissues

### 2. Far Infrared (IR-B and IR-C)

- Wavelength: 1400 nm–1 mm

- Produced by non-luminous generators

- Primarily absorbed by superficial tissues

## Physiological Effects

### Thermal Effects

- Vasodilation of superficial blood vessels

- Increased local blood flow

- Increased metabolic rate

- Increased tissue extensibility

- Reduction of pain and muscle spasm

### Non-Thermal Effects

- Mild stimulation of tissue repair

- Relaxation and comfort

## Indications

- Chronic musculoskeletal pain

- Muscle spasm

- Joint stiffness

- Osteoarthritis

- Subacute and chronic inflammatory conditions

- Preparation before stretching and exercise

- Post-immobilization stiffness

## Contraindications

- Acute inflammation

- Impaired thermal sensation

- Malignancy

- Severe circulatory disorders

- Active bleeding

- Over the eyes

- Areas with impaired cognition or inability to report heat sensation

## Method of Application

- Position the patient comfortably.

- Place the infrared lamp perpendicular to the treatment area.

- Maintain a distance of approximately 45–75 cm depending on the type of lamp.

- Duration is usually 15–20 minutes.

- The patient should experience a comfortable warmth without burning.

## Advantages

- Non-invasive and painless

- Easy to apply

- Provides uniform superficial heating

- Improves tissue flexibility before exercise

## Hazards

- Burns due to excessive heat

- Skin irritation

- Eye damage if protective measures are not followed

- Excessive vasodilation causing dizziness in susceptible individuals

Infrared radiation remains a commonly used superficial heating modality in physiotherapy for pain relief, muscle relaxation, and preparation of tissues for therapeutic exercise and manual therapy.